## Inspection
HOME INSPECTION REPORT
Property Address:
Inspection Date:
Inspector:
Client:
Area | Item | Condition | Priority | Notes
Exterior | Roofing | Good | Low | Asphalt shingles, age normal
Exterior | Siding | Fair | Medium | Minor cracks, recommend seal
Interior | Electrical | Good | Low | All outlets operational
Interior | Plumbing | Fair | Medium | Kitchen faucet drips slightly
Foundation | Basement | Good | Low | No signs of water intrusion
HVAC | AC Unit | Poor | High | Filter needs replacement
Safety | Smoke Detectors | Missing | Critical | Not installed

## Summary
INSPECTION SUMMARY
Category | Issues Found | Critical | High | Medium | Low

## Photos
PHOTO LOG
Photo # | Area | Description | File Reference